Highlights

ET-PRL frames HVAC action triggering as online anomaly detection.

Multi-scale anomaly scores and local-global thresholds enable dynamic event gating.

Predictive RL couples with event triggering to reduce redundant control updates.

Real data show 53.54% fewer updates and 2.13% less energy than fixed-step RL.